## Sheet1
2025.01.15 | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4
The PHMSA Pipeline Safety Flagged Incidents files include data from four different pipeline system types (Hazardous Liquid, Gas Transmission/Gathering, Gas Distribution, and LNG) and three different time periods over which data was collected from operators using different reporting forms. As such, some reported data, such as the apparent incident cause, do not have equivalence over historical data sets. In order to group incidents over all periods by cause in a consistent way it was necessary for PHMSA to develop a mapping system whereby the apparent cause data reported by operators over all time periods and system types could be standardized to the extent possible.
FLAGGED_DATA_FILE | MAP_SEVEN_CAUSE | MAP_SEVEN_SUBCAUSE | CAUSE | CAUSE_DETAIL_OR_SPECIFIC_FIELD
gdmar2004to2009 | ALL OTHER CAUSES | MISCELLANEOUS | OTHER | and field CAUSE_DETAILS_TEXT is Miscellaneous
gdmar2004to2009 | ALL OTHER CAUSES | UNKNOWN | OTHER | and field CAUSE_DETAILS_TEXT is Unknown
gdmar2004to2009 | CORROSION | EXTERNAL | CORROSION | and field CAUSE_DETAILS_TEXT is Corrosion, External
gdmar2004to2009 | CORROSION | INTERNAL | CORROSION | and field CAUSE_DETAILS_TEXT is Corrosion, Internal
gdmar2004to2009 | EXCAVATION DAMAGE | OPERATOR/CONTRACTOR EXCAVATION DAMAGE | EXCAVATION DAMAGE | and field CAUSE_DETAILS_TEXT is Operator excavation damage
gdmar2004to2009 | EXCAVATION DAMAGE | THIRD PARTY EXCAVATION DAMAGE | EXCAVATION DAMAGE | and field CAUSE_DETAILS_TEXT is Third party excavation damage
gdmar2004to2009 | INCORRECT OPERATION | INCORRECT OPERATION | INCORRECT OPERATION | when CAUSE is Incorrect Operation
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | BODY OF PIPE | MATERIAL AND/OR WELD FAILURES | and field CAUSE_DETAILS_TEXT is Body of pipe
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | BUTT WELD | MATERIAL AND/OR WELD FAILURES | and field CAUSE_DETAILS_TEXT is Butt weld
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | JOINT/FITTING/COMPONENT | MATERIAL AND/OR WELD FAILURES | and field CAUSE_DETAILS_TEXT is Component, or Joint
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | MALFUNCTION OF CONTROL/RELIEF EQUIPMENT | EQUIPMENT | and field CAUSE_DETAILS_TEXT is Malfunction of control/relief equipment
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | RUPTURED OR LEAKING SEAL/PUMP PACKING | EQUIPMENT | and field CAUSE_DETAILS_TEXT is Rupture or leaking seal/pump packing
gdmar2004to2009 | MATERIAL/WELD/EQUIP FAILURE | THREADS STRIPPED, BROKEN PIPE COUPLING | EQUIPMENT | and field CAUSE_DETAILS_TEXT is Threads stripped, broken pipe coupling
gdmar2004to2009 | NATURAL FORCE DAMAGE | EARTH MOVEMENT | NATURAL FORCES | and field CAUSE_DETAILS_TEXT is Earth movement
gdmar2004to2009 | NATURAL FORCE DAMAGE | HEAVY RAINS/FLOODS | NATURAL FORCES | and field CAUSE_DETAILS_TEXT is Heavy rains/floods
gdmar2004to2009 | NATURAL FORCE DAMAGE | HIGH WINDS | NATURAL FORCES | and field CAUSE_DETAILS_TEXT is High winds
gdmar2004to2009 | NATURAL FORCE DAMAGE | LIGHTNING | NATURAL FORCES | and field CAUSE_DETAILS_TEXT is Lightning
gdmar2004to2009 | NATURAL FORCE DAMAGE | TEMPERATURE | NATURAL FORCES | and field CAUSE_DETAILS_TEXT is Temperature
gdmar2004to2009 | OTHER OUTSIDE FORCE DAMAGE | FIRE/EXPLOSION AS PRIMARY CAUSE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS_TEXT is Fire/explosion as primary cause
gdmar2004to2009 | OTHER OUTSIDE FORCE DAMAGE | INTENTIONAL DAMAGE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS_TEXT is Vandalism
gdmar2004to2009 | OTHER OUTSIDE FORCE DAMAGE | PREVIOUS MECHANICAL DAMAGE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS_TEXT is Rupture of previously damaged piped
gdmar2004to2009 | OTHER OUTSIDE FORCE DAMAGE | VEHICLE NOT ENGAGED IN EXCAVATION | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS_TEXT is Car, truck or other vehicle not related to excavation activity
gd2010toPresent | ALL OTHER CAUSES | MISCELLANEOUS | OTHER INCIDENT CAUSE | and fields CAUSE_DETAILS is Miscellaneous
gd2010toPresent | ALL OTHER CAUSES | UNKNOWN | OTHER INCIDENT CAUSE | and fields CAUSE_DETAILS is Unknown
gd2010toPresent | CORROSION | EXTERNAL | CORROSION FAILURE | and field CAUSE_DETAILS is External Corrosion
gd2010toPresent | CORROSION | INTERNAL | CORROSION FAILURE | and field CAUSE_DETAILS is Internal Corrosion
gd2010toPresent | EXCAVATION DAMAGE | OPERATOR/CONTRACTOR EXCAVATION DAMAGE | EXCAVATION DAMAGE | and field CAUSE_DETAILS contains text First party, or Second Party
gd2010toPresent | EXCAVATION DAMAGE | PREVIOUS DAMAGE DUE TO EXCAVATION | EXCAVATION DAMAGE | and field CAUSE_DETAILS is Previous damage due to excavation activity
gd2010toPresent | EXCAVATION DAMAGE | THIRD PARTY EXCAVATION DAMAGE | EXCAVATION DAMAGE | and field CAUSE_DETAILS contains text Third party
gd2010toPresent | INCORRECT OPERATION | DAMAGE BY OPERATOR OR OPERATOR'S CONTRACTOR | INCORRECT OPERATION | and field CAUSE_DETAILS contains text Damage by operator or operator's contractor
gd2010toPresent | INCORRECT OPERATION | INCORRECT INSTALLATION | INCORRECT OPERATION | and field CAUSE_DETAILS is Equipment not installed properly
gd2010toPresent | INCORRECT OPERATION | INCORRECT VALVE POSITION | INCORRECT OPERATION | and field CAUSE_DETAILS contains text Valve left or place in wrong position
gd2010toPresent | INCORRECT OPERATION | OTHER INCORRECT OPERATION | INCORRECT OPERATION | and field CAUSE_DETAILS is Other incorrect operation
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | BODY OF PIPE | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Body of pipe
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | BUTT WELD | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Butt weld
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | COMPRESSION FITTING | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Compression fitting
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | FUSION JOINT | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Fusion joint
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | MALFUNCTION OF CONTROL/RELIEF EQUIPMENT | EQUIPMENT FAILURE | and field CAUSE_DETAILS is Malfunction of control/relief equipment
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | MECHANICAL FITTING | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Mechanical fitting
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | NON-THREADED CONNECTION FAILURE | EQUIPMENT FAILURE | and field CAUSE_DETAILS is Non-threaded connection failure
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | OTHER PIPE/WELD/JOINT FAILURE | MATERIAL FAILURE OF PIPE OR WELD | and field CAUSE_DETAILS is Other pipe, weld, or joint failure
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | THREADED CONNECTION/COUPLING FAILURE | EQUIPMENT FAILURE | and field CAUSE_DETAILS is Threaded connection failure
gd2010toPresent | MATERIAL/WELD/EQUIP FAILURE | VALVE | EQUIPMENT FAILURE | and field CAUSE_DETAILS is Valve
gd2010toPresent | NATURAL FORCE DAMAGE | EARTH MOVEMENT | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS contains text Earth movement
gd2010toPresent | NATURAL FORCE DAMAGE | HEAVY RAINS/FLOODS | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS is Heavy rains/floods
gd2010toPresent | NATURAL FORCE DAMAGE | HIGH WINDS | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS is High winds
gd2010toPresent | NATURAL FORCE DAMAGE | LIGHTNING | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS is Lightning
gd2010toPresent | NATURAL FORCE DAMAGE | OTHER NATURAL FORCE DAMAGE | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS is Other Natural Force Damage
gd2010toPresent | NATURAL FORCE DAMAGE | TEMPERATURE | NATURAL FORCE DAMAGE | and field CAUSE_DETAILS is Temperature
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | ELECTRICAL ARCING FROM OTHER EQUIPMENT/FACILITY | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS is Electrical arcing from other equipment or facility
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | FIRE/EXPLOSION AS PRIMARY CAUSE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS contains text Fire/explosion as primary cause
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | INTENTIONAL DAMAGE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS is Intentional Damage
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | OTHER OUTSIDE FORCE DAMAGE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS is Other outside force damage
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | PREVIOUS MECHANICAL DAMAGE | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS is Precious mechanical damage not related to excavation
gd2010toPresent | OTHER OUTSIDE FORCE DAMAGE | VEHICLE NOT ENGAGED IN EXCAVATION | OTHER OUTSIDE FORCE DAMAGE | and field CAUSE_DETAILS is Damage by car, truck or other motorized vehicle/equipment not related to excavation activity
gd1986tofeb2004 | ALL OTHER CAUSES | MISCELLANEOUS | OTHER | when CAUSE is Other and fields CORR_LOC_TEXT, BCAUSE_TEXT, and CCAUSE_TEXT is null
gd1986tofeb2004 | ALL OTHER CAUSES | UNKNOWN |  | when CAUSE not available and fields CORR_LOC_TEXT, BCAUSE_TEXT, and CCAUSE_TEXT is Null
gd1986tofeb2004 | ALL OTHER CAUSES | UNSPECIFIED NATURAL OR OUTSIDE FORCE DAMAGE |  | when CAUSE not available and field BCAUSE_TEXT is Not Null
gd1986tofeb2004 | CORROSION | EXTERNAL | CORROSION | and field CORR_LOC_TEXT is External
gd1986tofeb2004 | CORROSION | INTERNAL | CORROSION | and field CORR_LOC_TEXT is Internal
gd1986tofeb2004 | CORROSION | UNSPECIFIED CORROSION | CORROSION | when CAUSE is Corrosion and field CORR_LOC_TEXT is null
gd1986tofeb2004 | EXCAVATION DAMAGE | OPERATOR/CONTRACTOR EXCAVATION DAMAGE | ACCIDENTALLY CAUSED BY OPERATOR | and field BCAUSE_TEXT is Action of operator or his agent
gd1986tofeb2004 | EXCAVATION DAMAGE | THIRD PARTY EXCAVATION DAMAGE | DAMAGE BY OUTSIDE FORCES | and field BCAUSE_TEXT is Outside/Third Party and CAUSE is not Accidentally Caused by Operator
gd1986tofeb2004 | INCORRECT OPERATION | INCORRECT OPERATION | ACCIDENTALLY CAUSED BY OPERATOR | and field CCAUSE_TEXT is Operating procedure inappropriate, or Error in operating procedure application construction
gd1986tofeb2004 | INCORRECT OPERATION | UNSPECIFIED INCORRECT OPERATION | ACCIDENTALLY CAUSED BY OPERATOR | when CAUSE is Accidentally Caused by Operator and field CCAUSE_TEXT is Other or Null/No Data
gd1986tofeb2004 | MATERIAL/WELD/EQUIP FAILURE | UNSPECIFIED MATERIAL/WELD FAILURE | ACCIDENTALLY CAUSED BY OPERATOR | and field CCAUSE_TEXT is Poor workmanship during construction, or Physical damage during construction
gd1986tofeb2004 | MATERIAL/WELD/EQUIP FAILURE | UNSPECIFIED MATERIAL/WELD FAILURE | CONSTRUCTION/OPERATING ERROR | when CAUSE is Construction/Operating Error and field CCAUSE_TEXT is Other, or No data
gd1986tofeb2004 | NATURAL FORCE DAMAGE | EARTH MOVEMENT | DAMAGE BY OUTSIDE FORCES | and field BCAUSE_TEXT is Earth Movement:Other, or :Subsidence
gd1986tofeb2004 | NATURAL FORCE DAMAGE | TEMPERATURE | DAMAGE BY OUTSIDE FORCES | and field BCAUSE_TEXT is Earth Movement:Frost
gd1986tofeb2004 | NATURAL FORCE DAMAGE | UNSPECIFIED NATURAL FORCE DAMAGE | DAMAGE BY OUTSIDE FORCES | and field BCAUSE_TEXT is Earth Movement:Landslide/Washout
gd1986tofeb2004 | OTHER OUTSIDE FORCE DAMAGE | UNSPECIFIED OUTSIDE FORCE DAMAGE | DAMAGE BY OUTSIDE FORCES | when CAUSE is Damage by Outside Forces and field BCAUSE_TEXT is Lightning or fire, or it is Null
gd1986tofeb2004 | OTHER OUTSIDE FORCE DAMAGE | UNSPECIFIED OUTSIDE FORCE DAMAGE | OTHER | when CAUSE is Other and field BCAUSE_TEXT is Lightning or fire
gd1986tofeb2004 | INCORRECT OPERATION | INCORRECT OPERATION | CONSTRUCTION/OPERATING ERROR | and field CCAUSE_TEXT is Operating procedure inappropriate, or Error in operating procedure application construction
gd1986tofeb2004 | MATERIAL/WELD/EQUIP FAILURE | UNSPECIFIED MATERIAL/WELD FAILURE | CONSTRUCTION/OPERATING ERROR | and field CCAUSE_TEXT is Poor workmanship during construction, or Physical damage during construction